# Model Evaluation Report

Based on the analysis scripts and model weights provided in this repository, here is the performance breakdown of all the evaluated Sleep Apnea detection models.

## 1. Baseline SE-MSCNN (Original)

Model Reference: SE-MSCNN_predictions.csv

Accuracy: 89.85%

Sensitivity: 86.02%

Specificity: 92.22%

Description: The baseline ECG-only multi-scale CNN model with SE attention.

## 2. SPO2 Integration (Initial/Broken)

Model Reference: SE-MSCNN_robust_v2_predictions.csv

Accuracy: 68.74%

Sensitivity: 7.49%

Specificity: 91.61%

Description: This model attempted to add SPO2 features but suffered from terrible sensitivity.

## 3. Improved Baseline Version

Model Reference: SE-MSCNN_improved_baseline.csv (50 sample subset)

Accuracy: 100.0%

Sensitivity: 100.0%

Specificity: 100.0%

Description: Improved model on a very small diagnostic subset of 50 samples.

## 4. Final Aggressive Configuration (Real SPO2)

Model Reference: weights.final_aggressive.keras

Performance at Threshold 0.27 (Recommended):

- Accuracy: 54.49%  |  Sensitivity: 85.46%  |  Specificity: 42.93%

## 5. SE-MSCNN v2 Improved (PyTorch + XGBoost Ensemble) [NEW]

Model Reference: SE_MSCNN_v2_predictions.csv / weights.v2_improved.pt

Framework: PyTorch 2.10 + XGBoost

Architecture: Deeper residual Conv1D branches + BatchNorm + SE Attention + Focal Loss + Cosine Annealing LR + Data Augmentation

Training: 10 epochs, batch size 32, AdamW optimizer

Dataset: 13,494 train / 3,374 val / 17,075 test segments (PhysioNet Apnea-ECG)

### CNN Only Results:

Accuracy: 87.02%

Sensitivity: 78.34%

Specificity: 92.38%

F1-score: 0.8217

AUC-ROC: 0.9430

### XGBoost Only Results:

Accuracy: 87.81%

Sensitivity: 86.87%

Specificity: 88.39%

F1-score: 0.8447

AUC-ROC: 0.9512

### Ensemble (CNN + XGBoost) Results:

Accuracy: 87.84%

Sensitivity: 85.62%

Specificity: 89.20%

F1-score: 0.8431

AUC-ROC: 0.9503

## Notes on Reaching 95% Target

The model was trained for only 10 epochs to save time. Validation accuracy was still climbing at 91.97% when training ended. To reach the 95% target, increase EPOCHS to 50-100 in SE_MSCNN_v2_improved.py and re-run. The preprocessed data is cached in preprocessed_data.pkl, so re-running will skip the 1.5-hour preprocessing phase and start training immediately.